## Slide 1
 | MergeION (Default) | compMS2Miner | RMassBank
Input Data format | mz(X)ML | mz(X)ML | mz(X)ML
Input Acquisition mode | Targeted + DDA |  | Targeted
Input Metadata (Compulsory) | ID + PEPMASS | ID + PEPMASS + RT | ID + SMILES + Filename
Input Metadata (Suggested) | RT, Filename | Filename | RT
Search Method | Highest TIC scan | Multiple scan summation | Multiple scan aggregation
Spectrum POST-processing | - | Dynamic filtering | Recalibration
Extra function | Isomer detection | Isomer detection | Fragment formula annotation
Consensus spectra |  |  | 

## Slide 2
(Line spectra = Centroid-mode)

## Slide 3
v
1. Browse and add raw LC-MS files.
v
2. If your data is in profile mode, you need to apply peak picking for both MS1 and MS2 scans. We recommend Vendor algorithms for all data formats except for Waters’.
v
4
3. Define output format and output directory.
v
2. Please choose CWT algorithm to centroid Waters data file. Please use default parameters.

## Slide 4
Retention time (in minute) of metabolic features to be found, please put it to N/A if unknown. MergeION will detect all isomers.
A unique identifier for targeted compounds in spectral library, number or character
Precursor ion adduct type, one of "M+H","M+Na","M+K","M-H“, "M+Cl"
Charge number,
Please keep the value at 1
The first six columns of the metadata are mandatory. Column names and their order must not be changed !
Rest of columns are optional
Precursor m/z to be found in chromatograms
"Positive"
or "Negative"

## Slide 5
Necessary
Rest of columns are optional
A unique identifier for targeted features in the spectral database
Mass and RT of MS1 features detected by MZMine, used to pick up MS2 scans
Adduct grouping by the meRgeION process_mzmine function
Area of MS1 features found by MZMine
% relative to main compound and fold change calculated from area

## Slide 6
Baseline ≈ 1000

## Slide 7
Following metadata columns are added:
Spectra data
Metadata
Example of a “scan”
GNPS-style
spectral library file
Actual value detected
…
Following metadata columns are appended or updated:
Chromatogram information
Search parameters
User information
Metadata

## Slide 11
No MS1 scan was extracted since the goal is library search and MS2-based networking
Total number of MS2 scans. Each feature was fragmented in multiple files
A unique consensus scan was generated for each input feature
Not yet generated